## Slide 1: A Two-Stage Deep Learning Approach to Brain Tumor Classification and Segmentation in 2D MRI Images
Pi24, Team 24
Muslim Alhammad · Haya Saleh Algarni · Raed Almjally · Maram Alraddadi
Notes: Good [morning/afternoon]. We're Pi24, Team 24, and this is our Samsung Innovation Campus AI capstone project: a two-stage deep learning system for brain tumor classification and segmentation in 2D MRI images. Quick introductions of the team, then let's get into it.

## Slide 2
1. Foundations
1.1 Problem & Background
1.2 Motivation & Objective
1.3 Proposed Solution
1.4 Dataset (BRISC2025)
2. Method & Models
2.1 Data Preparation & Preprocessing
2.2 AI Models
2.3 System Workflow & Architecture
2.4 Evaluation Methodology
3. Results & Impact
3.1 Expected Results (Targets)
3.2 UI & Deployment
3.3 Limitations & Future Work
3.4 Project Impact & Conclusion
Agenda
Notes: Here's how we'll walk through the project: first the foundations — the problem, our motivation, the solution we propose, and the dataset. Then the method and models we built. And finally the results we're targeting, the deployment, limitations, and what this all means.

## Slide 3: Problem & Background
1.1
Foundations
01
UNIT
Brain tumors are abnormal tissue growths that require timely, accurate assessment.
MRI is widely used to visualize brain structure and tumor regions.
Two things matter most for every scan: the tumor type, and where it is located.
Manual identification and delineation of tumors is time-consuming. This motivates using deep learning to support the analysis.
WHAT is it?
Tumor type
Glioma / Meningioma /
Pituitary / No Tumor
WHERE is it?
Tumor location
Pixel-level region
within the scan
Notes: Brain tumors need to be assessed quickly and accurately, and MRI is the standard tool doctors use to do that. For any scan, two things matter: what type of tumor is it, and where exactly is it located. Today, identifying the type and manually outlining the tumor region is done by hand, which takes time and depends on an expert being available. That's the gap we're trying to help close with deep learning.

## Slide 4: Motivation & Objective
1.2
Foundations
02
UNIT
Our motivation: our team set out to build a simple, understandable AI pipeline that pairs tumor-type classification with tumor localization.
BRISC2025 was chosen because it supports both tasks classification and pixel-level segmentation from one source.
Our objective: given one T1-weighted axial 2D MRI image, predict one of four classes, and if a tumor is found, produce a tumor mask.
“A non-diagnostic, educational decision-support prototype
presented through a Gradio interface, not a replacement for a doctor.”
Notes: Our motivation was to keep this simple and understandable: one pipeline that both classifies the tumor type and localizes it. We picked the BRISC2025 dataset specifically because it gives us both labels and segmentation masks from a single, consistent source. Our objective: take one T1-weighted axial MRI image, predict one of four classes, and when a tumor is present, produce a mask. And to be clear up front — this is an educational, non-diagnostic prototype, not something meant to replace a doctor.

## Slide 5: Proposed Solution: A Two-Stage Pipeline
1.3
Foundations
03
UNIT
Our proposed solution is a two-stage cascaded pipeline: classify first, then segment only when a tumor is present.
Stage 1 Classification sorts the image into glioma, meningioma, pituitary tumor, or no tumor.
Stage 2 Segmentation runs only for tumor-positive images, to localize the tumor region.
MRI Image
Stage 1
Classification
(EfficientNet-B0)
Stage 2
Segmentation
(U-Net, if tumor)
Class +
Tumor Mask
(if applicable)
Segmentation is skipped entirely for the “no tumor” class.
Notes: Here's the core idea: a two-stage cascaded pipeline. Stage one classifies the image into glioma, meningioma, pituitary tumor, or no tumor. Stage two only runs if a tumor was detected, and it segments exactly where the tumor is. We deliberately skip segmentation entirely for the no-tumor class — partly because it's unnecessary, and partly because our segmentation model is only trained on tumor-bearing images, so running it on a healthy scan wouldn't mean anything.

## Slide 6: The BRISC2025 Dataset
1.4
Foundations
04
UNIT
BRISC2025 (Kaggle): one source providing both class labels and pixel-level segmentation masks.
Current scope: T1-weighted axial 2D MRI images (coronal / sagittal reserved for future work).
Classification set: 6,000 images (5,000 train / 1,000 test). Segmentation set: 4,793 tumor images (3,933 train / 860 test), each with one mask.
Glioma
1,147 train
254 test
Meningioma
1,329 train
306 test
Pituitary
1,457 train
300 test
No Tumor
1,067 train
140 test
Classification image counts shown; tumor classes also carry a matched segmentation mask.
Notes: We're using BRISC2025 from Kaggle, and for this phase of the project we're scoped to T1-weighted axial images only — coronal and sagittal views are a possible future extension. On the classification side we have 6,000 images split 5,000 train and 1,000 test across the four classes shown here. On the segmentation side, 4,793 tumor-bearing images each come with their own pixel-level mask.

## Slide 7: Data Preparation & Preprocessing
2.1
Method & Models
05
UNIT
All data is loaded from a single manifest (path, class, plane, split, mask link) for consistency.
Images are padded to a square before resizing, to preserve anatomical proportions.
Classification inputs: 224×224 px. Segmentation inputs: 256×256 px. Pixels are normalized to the pretrained backbone's expected scale.
Partition
(stratified split)
Pad &
Resize
Normalize
(backbone stats)
Augment
(train only)
Augmentation (flips, limited rotation, brightness/contrast, elastic deformation) applied identically to images and masks via Albumentations.
Notes: Everything starts from one manifest file, so class labels, imaging plane, and mask links all come from a single source of truth. We pad every image to a square before resizing, so we don't distort anatomy. Classification images go to 224 by 224, segmentation images to 256 by 256, and pixel values are normalized to match what our pretrained backbones expect. Augmentation — flips, small rotations, brightness and contrast changes, elastic deformation — is applied only to the training data, and applied identically to images and their masks together.

## Slide 8: AI Models: Classification & Segmentation
2.2
Method & Models
06
UNIT
Our two specialized models are each fine-tuned in two phases: freeze the pretrained backbone, then fine-tune end-to-end at a lower learning rate.
Classification EfficientNet-B0
Transfer learning, 4-class output
Loss: cross-entropy (class-weighted)
Selection: validation macro-F1
Segmentation U-Net + ResNet34
Encoder-decoder with skip connections
Loss: Dice + Focal loss
Selection: validation Dice Coefficient
Notes: Two models, each fine-tuned the same way: first we freeze the pretrained backbone and train only the new head, then we unfreeze everything and fine-tune end-to-end at a lower learning rate. For classification we use EfficientNet-B0 with a cross-entropy loss, and we'll pick the best checkpoint using macro-F1 rather than plain accuracy. For segmentation we use a U-Net with a ResNet34 encoder, trained with a combined Dice and Focal loss, and model selection will be based on validation Dice score.

## Slide 9: System Workflow & Architecture
2.3
Method & Models
07
UNIT
Our two models will be combined into a single cascaded inference pipeline.
The interface will return a class prediction and, for tumor cases, a mask overlay via Gradio.
MRI Input
EfficientNet-B0 Classification
Tumor?
No
Final Classification
(no tumor)
Yes
U-Net Segmentation
(ResNet34 encoder)
Tumor Mask Overlay
Gradio Interface (hosted on Hugging Face)
Notes: Putting it all together: an MRI image comes in, EfficientNet-B0 classifies it. If it's predicted as no tumor, we stop there and return the classification. If a tumor is predicted, the same image will be passed to the U-Net segmentation model, which will generate a tumor mask, overlay it on the original image, and everything will be served through a Gradio interface hosted on Hugging Face.

## Slide 10: Evaluation Methodology
2.4
Method & Models
08
UNIT
Both models will be evaluated once, at the end of development, on the held-out test partition.
Classification Metrics
Accuracy, per-class precision & recall
Macro-F1 and confusion matrix
Calibration: reliability diagram + ECE
Segmentation Metrics
Dice Coefficient and IoU
Precision and recall
Reported as aggregate + per-image distribution
Current evaluation focuses on T1-weighted axial MRI images. Coronal and sagittal planes are reserved for future work.
Notes: For classification we're looking at accuracy, per-class precision and recall, macro-F1, a confusion matrix, and a calibration analysis so we understand how trustworthy the model's confidence scores are. For segmentation: Dice, IoU, precision and recall, reported both as an overall number and as a distribution per image, since an average alone can hide failures on small tumors. For this phase, our evaluation focuses on T1-weighted axial MRI images, which is our current project scope. Extending the evaluation to coronal and sagittal views is planned as future work.

## Slide 11: Expected Results (Project Targets)
3.1
Results & Impact
09
UNIT
The figures below are our project's performance targets not final test results. They will be verified on the held-out test partition once training and evaluation are complete.
≥ 0.95
Classification
Macro-F1 (target)
≥ 95%
Overall Accuracy
(target)
≥ 0.90
Per-class Recall
(target, each class)
≥ 0.80
Segmentation
Dice Coefficient (target)
≥ 0.70
Segmentation
IoU (target)
Notes: I want to be upfront: these are our project targets, not final results yet — we haven't completed training and testing, so these numbers describe what we're aiming for, not what we've already achieved. We're targeting macro-F1 of at least 0.95 and overall accuracy of at least 95% for classification, with no single class falling below 90% recall. For segmentation, we're targeting a Dice score of at least 0.80 and an IoU of at least 0.70.

## Slide 12: User Interface & Deployment
3.2
Results & Impact
10
UNIT
Our final prototype will be deployed through a Gradio interface hosted on Hugging Face.
A user will upload a single MRI scan and receive the predicted class with its confidence values.
If a tumor class is predicted, the interface will overlay the tumor-region mask on the original image.
Upload MRI
Gradio App
Prediction +
mask (if tumor)
Hosted on
Hugging Face
Presented explicitly as a decision-support / educational demonstration — not a diagnostic tool.
Notes: On the user side, this will be simple: someone uploads a single MRI scan to our Gradio app. The system will return the predicted class along with confidence values, and if a tumor is predicted, it will also show the mask overlaid on the original scan. Our final prototype will be deployed through a Gradio interface hosted on Hugging Face, and we'll be explicit in the interface itself that this is a decision-support and educational tool, not something meant for clinical diagnosis.

## Slide 13: Limitations & Future Improvements
3.3
Results & Impact
11
UNIT
We state two limitations in advance, together with the corresponding future work.
Limitations
No patient ID patient-level split not possible; residual leakage cannot be excluded
All evaluation is retrospective, on one curated dataset
Clinical use would need independent prospective validation + regulatory approval
Future Improvements
Extend to coronal and sagittal image planes
Independent, prospectively collected validation data
Broader robustness testing across scanners/sites
Notes: Two limitations we want to be upfront about. First, the dataset gives us no patient identifier, so we can't guarantee a clean patient-level split — there's a chance of residual data leakage between train and test. Second, everything here is retrospective, tested on one curated dataset; real clinical use would require independent, prospective validation and regulatory approval. Looking ahead, we'd like to extend this to coronal and sagittal planes and test more broadly across different scanners and sites.

## Slide 14: Project Impact & Conclusion
3.4
Results & Impact
12
UNIT
Our project combines tumor-type classification with tumor localization in a single pipeline.
Intended benefit: less time spent on manual tumor delineation, plus a consistent second reading to support review.
The project is designed as a documented and reproducible pipeline, with a fixed, shared validation split.
Our two-stage pipeline is designed to answer both
what the tumor is and where it is
supporting, not replacing, expert review.
Notes: To sum up: our project brings together tumor-type classification and tumor localization in one pipeline. The intended benefit is cutting down the time spent on manual tumor delineation and giving a consistent second opinion to support review — not replace it. We've designed this as a documented, reproducible pipeline with a fixed validation split so our results will be comparable across experiments. In short: our team built a simple two-stage system that's designed to answer both what the tumor is and where it is.

## Slide 15
Thank You
Questions & Answers
Pi24, Team 24 · Maram Alraddadi, Muslim Alhammad, Haya Saleh Algarni, Raed Almjally
Notes: Thank you for your time — we're happy to take any questions.